To,

The Chief Internal Auditor

Central Bank of India

Sanjay Place,AGRA

Sir,

Re: Pre-Computerization  Audit of B/O Tundla

With reference to your letter no. 2000-2001/1305 dt. 7/12/2000. We have conducted the pre-computerization audit of Tundla Branch and report as under;

At present the branch is partly computerized as ALMP and now it is proposed to make it fully computerized. In our opinion the branch has prerequisite of computerization. The following are some of the points :-

- The present power load of the branch is 10 KVA. To meet the additional power load. The branch proposes to increase it to 22 KVA. Application for additional power load is under process.

- The space for the proposed computerization is presently sufficient in the branch for installation of PC terminals, Server room etc. Proper space is also available for attending customers and proposed counters. The terminals etc. to be fixed in such a way so that proper spacing is available. Required UPS will also be installed.

- There is requirement for construction of ‘Server-room’, which should be situated at a place away from the customer area. For this purpose space is available.

- Counters etc. will also be set according to the requirement, so that customers get proper space for attending properly. The required air-conditioners will also to be installed.

- The branch already has separate power line with 3-phase connection available, hence there is no requirement of separate power line. Only power load is to be increased.

- At present 10 KVA Generator –set is working in the branch on Hire bases. Talks are going on with the existing Generator hirer so that he can increase the generator load to 20 KVA, which will be sufficient for working of fully computerization.

- We have been informed that the staff is fully trained in the branch to run the computers. At present 6 staff personnel are fully trained to run the computer system, which is sufficient for counter-operation.

All the above information being compiled by us on the basis of our observations and information furnished to us.

FOR VIRENDRA RAJEEV & ASSOCIATES

CHARTERED ACCOUNTANTS

Place:AGRA

Dated: 15th. December,2000.

(VIRENDRA AGARWAL/RAJEEV AGARWAL)

Chartered Accountant

(Partner)