M/S Singh Ice & Milk Chilling Centre

50- Sri Nath Puram; Shanti Nagar, Kamla Nagar, Agra

List of Plant Machinery etc required for the use in manufacturing (Central Regd / Recognition Regd.)

- (Steel Body) Ammonia Compressor

- Atmospheric Condensor

- Tank Coil

- Evaporation Section

- Compressor Oil

- Reciever

- Oil Separator

- Brine Tank

- Set of Agitation System

- Trolly with side rail

- Agitator

- Ammonia Fittings with Nuts, Bolts & Gasket

- Pipe line and fittings

- Ice Cans

- Can Dump

- V-Belt

- Pressure Gauge

- Oil Seal, Motor Pully & Spare Parts

- Valve & G.I. Pipe 2’

- Oil & Gas

- Meters

- Water pumping set